INTERLOCKING CONCRETE PAVEMENT GUIDE SPECIFICATION FOR CANADIAN AIPRORTS  						Revised 4-2-2020

Note: The text must be edited by a qualified, licensed design professional to suit specific project requirements. ICPI makes no representations or warranties of any kind, expressed or implied, and disclaims any liability for damages resulting in the use of this guide construction specification.

1.0	DESCRIPTION

This item shall consist of a surface course composed of interlocking concrete pavers set in bedding sand on an approved base course constructed in accordance with the Plans and Specifications. All pavers shall be manufactured for the construction of paved surfaces to be trafficked by jet or propeller driven aircraft. This item shall include pavers, bedding sand, joint sand, edge restraints, and sealer manufactured and installed in accordance with these Specifications. This item shall be required for construction of interlocking concrete pavements in the manner and at the locations shown on the Plans or as directed by the Engineer.

Note: The use of concrete pavers is not recommended for areas subjected to full power or reverse thrust (e.g., runways, high speed taxiways, or apron areas where aircraft “power-back” operations are conducted).

2.0	MATERIALS

2.1	CONCRETE PAVERS

2.1.1	GENERAL

Concrete pavers shall be manufactured in accordance with CSA-A231.2 except as modified by Sections 4.1 and 4.2 of this Specification. Hard face or coated pavers with special finishes shall not be used. Pavers shall have chamfered edges around the top of the paver unit and shall be constructed with spacer bars, i.e. small protrusions on each side of the paver to keep the pavers uniformly spaced so that sand can fill the joints. Chamfers shall have a nominal size of 3 to 6 mm and the spacers shall have a nominal size of 2 mm thickness. Concrete pavers shall be manufactured by a member of the Interlocking Concrete Pavement Institute.

2.1.2	DIMENSIONS

Concrete pavers shall consist of rectangular chamfered units, 100mm by 200 mm by 80 mm thick, nominal dimensions, or other shapes and sizes as shown on the Plans. All pavers shall have round spacer bars, not exceeding 2 mm in thickness. The minimum thickness of concrete pavers for airport applications is 80 mm.

2.1.3	COLOUR

Colour shall be natural grey, except where indicated on the Plans. Coloured pavers shall use natural or synthetic mineral oxides with proven colorfastness that meet ASTM C979.

2.1.4 FREEZE-THAW DURABILITY

The contractor shall submit test results and certification that the concrete pavers meet the durability requirements of CSA A231.2 Precast Concrete Pavers.

2.1.5 EFFLORESCENCE

Concrete pavers shall be manufactured with additives to reduce efflorescence.

2.1.6 ABRASION RESISTANCE

Abrasion resistance of concrete pavers shall conform to the weight loss requirements of ASTM C936 when tested in accordance with ASTM C418.

2.1.7 ABSORPTION

The Contractor shall submit test results and certification that the concrete pavers 	meet the absorption test requirements in ASTM C140.

2.1.8 ACCEPTANCE

Concrete pavers shall be accepted by the Engineer at the source of manufacture in accordance with the acceptance requirements contained in Sections 4.1 and 4.2 of this Specification.

2.2 BEDDING SAND

Bedding sand shall be clean, non plastic and free from deleterious or foreign matter. Bedding sand shall be fine, naturally occurring or manufactured hard sand. Limestone screenings or stone dust shall not be used. The sands shall be as hard as practically available when concrete pavers are subject to aircraft traffic. Grading shall not vary from the high limit on one sieve to the low limit on the next larger sieve. Bedding sand shall conform to the requirements of CSA-A23.1 FA1, except for gradation requirements contained in Table 1 of this Specification. Locally available manufactured sand is acceptable, provided the sand is manufactured from rock having a Los Angeles Abrasion loss of 20 or less, when tested in accordance with CSA-A23.2-16A. Sand must also have a loss no greater than 8 percent when tested according to CSA A23.2-23A Micro-Deval Degradation. Sand shall be washed and meet the grading requirements of Table 1. The sand shall contain no more than 7 percent loss per ASTM C88 using sodium sulfate or magnesium sulfate. Limestone screenings or stone dust shall not be used.

TABLE 1

GRADING REQUIREMENTS FOR BEDDING SAND (CSA-A23.1 FA1)

SIEVE SIZE						PERCENT PASSING

10 mm								   100

5 mm								95 - 100

2.5 mm								80 - 100

1.25 mm								50 - 90

630 µm								25 - 65

315 µm								10 - 35

160 µm								  2 - 10

80 µm								   0 - 1

2.3 JOINT SAND

All sand for joints shall conform to the grading requirements of CSA-A179 as shown in Table 2. Sand blasting sand may be used. Masonry and beach sands shall not be used. Where locally available, bagged silica sand should be specified for joint sand.

TABLE 2

GRADING FOR JOINT SAND (CSA-A179)

SIEVE SIZE					PERCENT PASSING

5 mm							   100

2.5 mm							90 - 100

1.25 mm							85 - 100

630 µm							65 - 95

315 µm							15 - 80

160 µm							 0 - 35

80 µm							 0 - 5

2.4 SEALER

Sealer for stabilizing joint sand shall be a urethane, or approved equal, capable of 100 percent elongation in accordance with ASTM D2370. The sealer shall have	demonstrated acceptable performance in similar application for a minimum of one (1) year. The sealer shall be applied in strict accordance with manufacturer’s recommendations and shall carry a five (5) year minimum manufacturer’s warranty.  The sealer shall stabilize the joint sand to resist repeated blasts from jet engines and 	propeller wash and shall prevent the ingress of water through the joint sand. The sealer shall also be resistant to jet fuels, aviation gasoline, hydraulic fluids, and de-icing chemicals.

2.5 JOINT SEALING FILLER

When shown on the Plans, joint sealing filler shall be applied at edge restraint interfaces. This item is considered incidental to installation of edge restraints.

3.0 INITIAL ACCEPTANCE REQUIREMENTS

3.1 SUBMITTALS

The Contractor shall submit the following for the approval of the Engineer at least 30 days prior to the start of concrete paver installation.

3.1.1 CERTIFICATION

The Contractor shall provide certifications that all materials to be incorporated into the work can meet the requirements of Sections 4.1 and 4.2 of this Specification. Certifications shall be substantiated by data from tests performed within 90 days of the planned start date for installation.

3.1.2 SAMPLES

The Contractor shall submit the following samples for preliminary testing and evaluation by the Engineer. Sampling and testing shall be carried out by a concrete testing laboratory, certified in accordance with CSA-A283, by a certification organization accredited by the Standards Council of Canada in the subject area of Building Products and Structures.

a) Pavers

Twenty (20) full sized concrete pavers, cured for 28 days, shall be submitted to the Engineer for testing and evaluation in accordance with Sections 4.1 and 4.2 of this Specification. Ten (10) pavers shall be measured in accordance with CSA-A231.2. Test sampling and frequency shall be in accordance with CSA-A231.2 except for modifications outlined in this Specification.

b) Bedding and Joint Sand

Sieve analyses and samples of bedding and joint sand shall be	submitted to the Engineer for evaluation and testing in accordance with Sections 4.1 and 4.2 of this Specification.

c) Sealer

Manufacturer’s catalogue cuts shall be submitted for the proposed sealer.

d) Edge restraints

Mill reports and steel detailing showing hole sizes and layout shall be submitted to the Engineer for approval, when steel angle edge restraints are shown on the Plans. When concrete edge restraints are shown on the Plans, the concrete shall conform to Specifications.

3.1.3 STATEMENT OF CONTRACTOR QUALIFICATIONS

The paver Contractor shall have installed at least 30,000 m2 in commercial, municipal, port or airport projects over the past twelve (12) months. If mechanical installation is to be used, at least 10,000 m2 of which shall have been mechanically installed. Submit a list to the Engineer of projects with project names, addresses, email addresses, telephone numbers, names of Engineers/Architects and Owners, and dates of construction. The paver Contractor shall hold a current certificate from the Interlocking Concrete Pavement Institute indicating Concrete Paver Installer Certification.

3.2 TEST STRIP

Prior to installation of unit pavers, construct a test strip at least 10 m by 10 m for	each form and pattern of unit paver required. Build mock-up(s) using materials, base construction, joints and special features for continuous work, as indicated for final unit of work. The test strip shall also be used to establish “roll down” and sand surcharge requirements for grade control.

a) Locate mock-ups on project site in the location as directed by the Engineer.

b) Notify Engineer in advance of dates when mock-up(s) will be erected.

c) Demonstrate quality of workmanship that will be produced in final unit of work.

d) Obtain Engineer’s acceptance of mock-up(s) before start of final unit of work.

e) Retain and maintain mock-up(s) during construction in undisturbed condition as a standard for judging work.

f) Accepted mock-up(s) in undisturbed condition at time of substantial completion may become part of completed unit of work.

3.3  CONCRETE MIX DESIGN

Proportioning requirements for concrete paver manufacture shall be designed for a compressive strength consistent with the acceptance criteria contained in Sections 4.1 and 4.2 of this specification. Prior to the start of paver production and after approval of all material to be used in the concrete, the Contractor shall submit a mix design verification showing the 	proportions and actual compressive strengths at 28 days of the unit pavers, tested in accordance with Section 4.1 of this Specification. The mix design shall include a complete list of materials including type, brand, source and amount of cement, fly ash or other pozzolans, ground slag, and admixtures, and copies of test reports and certifications. Production shall not begin until the mix design and accompanying test data are reviewed and approved by the Engineer. The mix design shall be submitted at least 15 days prior to the start of paver production.

4.0	MATERIAL ACCEPTANCE

4.1	ACCEPTANCE SAMPLING AND TESTING

All testing for acceptance of concrete pavers, and bedding and joint sand, will be performed by the Engineer without cost to the Contractor. Concrete pavers will be sampled at the location of manufacture and tested by the Engineer for acceptance before shipment to the job site. Bedding and joint sand will be sampled from the stockpiles maintained by the Contractor at the job site for testing by the Engineer.

4.1.1	CONCRETE PAVERS

Concrete pavers shall be sampled, tested and accepted by the Engineer on a lot basis. A lot shall consist of one tenth of the total area to be paved or 50,000 units, whichever is smaller except for the last lot which shall consist of the number of units required for completion of paving. Each lot shall be divided into five (5) equal sublots. Three (3) full size units shall be randomly located by the Engineer within each sublot in accordance with ASTM D3665. Each specimen selected shall be suitably marked so that it can be identified according to lot, sublot, and sample number at any time. The tests indicated below are required.

4.1.1a COMPRESSIVE STRENGTH

Compressive strength testing in accordance with CSA A231.2 shall be performed on samples at 28 days. Five representative pavers shall be tested.

4.1.1b ABSORPTION

Five (5) full units shall be randomly selected and tested by the	Engineer for absorption in accordance with ASTM C140.

4.1.1c ABRASION RESISTANCE

Three units shall be sampled out of every 500,000 units produced and abrasion resistance shall be measured in accordance with ASTM C418.

4.1.1d FREEZE-THAW DURABILITY

Three units shall be tested for freeze-thaw durability in accordance with CSA-A231.2. Weight loss shall be reported at twenty-eight (28) and, if necessary, at forty-nine (49) cycles.

4.1.2	BEDDING SAND

Bedding sand shall be sampled, tested and accepted by the Engineer on a  lot basis. A lot shall consist of the lesser of 2000 m2 or ten percent of the total paved area. The minimum lot size shall be 1000 m2, except for the last lot, which shall consist of the number of square metres required for completion of paving. Each lot shall be subjected to the following tests for acceptance.

4.1.2a  GRADATION

Each lot will be divided into two equal sublots. One (1) sample shall be randomly located by the Engineer within the sublot in accordance with CSA-A23.2-7B. The Engineer shall test each sample for grading in accordance with CSA-A23.2-2A (dry sieve).

4.1.2b  MICRO-DEVAL DEGRADATION

One 1.5 kg sample shall be randomly located within each lot in accordance with ASTM D3665. Test according to CSA 23.2-23A Micro-Deval Degradation.

4.1.3  JOINT SAND

Joint sand shall be sampled, tested and accepted by the Engineer on a lot basis. A lot shall consist of the lesser of 2000 m2 or ten percent of the total paved area. The minimum lot size shall be 1000 m2, except for the last lot, which shall consist of the number of square metres required for completion of paving. One (1) sample will be randomly selected for each lot. The Engineer shall test the sample for gradation in accordance with CSA-A23.2-2A (dry sieve). The joint sand shall satisfy the physical

requirements for concrete fine aggregate.

4.2 	ACCEPTANCE CRITERIA

4.2.1	 CONCRETE PAVERS

Concrete pavers shall be evaluated on a lot basis by the Engineer. All acceptance requirements must be fully met as described below for a lot of concrete pavers to be considered acceptable for incorporation into the work. Failure to meet any one or more of the acceptance requirements detailed below will result in rejection of the entire lot of concrete pavers.

4.2.1a  COMPRESSIVE STRENGTH

For acceptance, the average compressive strength of the five (5) pavers tested in accordance with Paragraph 4.1.1a shall be 50 MPa or greater with no individual paver less than 45 MPa.

4.2.1b  ABSORPTION

A lot shall be accepted based on absorption when the average absorption for the five (5) samples tested for each lot in accordance with paragraph 4.1.1b is less than or equal to 5 percent, with no individual unit having an absorption greater than 7 percent.

4.2.1c  DIMENSIONAL TOLERANCES

The dimensional tolerances of ten (10) pavers sampled for each lot in accordance with Section 6.3 of CSA-A23.2 shall not vary by more than the following amounts:

Length         -1.0 to mm +2.0 mm

Width           -1.0 mm to +2.0 mm

Thickness    ± 3.0 mm

Each side of each paver within the sample shall be normal to the wearing surface and the opposite face. The sides shall be considered normal if the sides do not deviate from specified dimensions by more than 1.6 mm.

4.2.1d  ABRASION RESISTANCE

Samples tested in accordance with paragraph 4.1.1d shall not have a	volume loss greater than 15 cm3 per 50 cm3. The average thickness loss shall not exceed 3 mm.

4.2.1e  VISUAL REQUIREMENTS

All pavers shall be sound and free from defects that would interfere with the proper placing of the pavers or impair the strength or performance of the construction. Defects which impair the structural or functional performance of the wearing surface of the paver shall be sufficient reason for rejection. The Engineer, at his/her sole discretion, may allow pavers with minor chipping to remain as part of the completed pavement.

4.2.1f  FREEZE THAW DURABILITY

When tested in accordance with Paragraph 4.1.1d mass lost shall not exceed 225 g/m2 of surface area after twenty-eight (28) freeze-thaw cycles or shall not exceed 500 g/m2 after forty-nine (49) cycles.

4.2.2	BEDDING SAND

Bedding sand shall be evaluated by the Engineer on a lot basis for compliance with the following characteristics:

4.2.2a  GRADATION

The two (2) samples of bedding sand tested in accordance with 4.1.2a shall be averaged for comparison to the grading requirements of Table 1. The Contractor shall take appropriate corrective action when the acceptance tests indicate that the	grading requirements are not being met.

4.2.2b MICRO-DEVAL DEGRADATION

For each sample tested in accordance with Section 4.1.2b, the maximum loss shall not exceed 8 percent.

4.2.3	JOINT SAND

Joint sand sampled and tested in accordance with Paragraph 4.1.3 shall be evaluated for compliance to the requirements of Table 2.

4.2.4	SEALER

The sealer shall meet the requirements outlined in Section 2.4 of this Specification.

4.2.5	COMPLIANCE

Where any of the individual acceptance tests for concrete pavers and/or sand fail to meet the requirements specified above, the lot shall be rejected because of non-compliance subject to the

following:

4.2.5a REMOVAL OF DEFECTIVE MATERIALS

The Contractor may elect to inspect the lot, remove any items he/she considers to be defective and submit the remainder for re-sampling and re-testing by the Engineer in accordance with Section 4.1 and 4.2 of this Specification. The costs for resampling and retesting shall be borne by the Contractor. Should these further test results fail to meet the requirements, the entire lot shall be rejected. Where defective materials have been discarded from the lot, the lot shall be considered a new lot and the initial test results shall not be used in the Engineer's evaluation for compliance.

5.0	DELIVERY, STORAGE AND HANDLING

5.1	CONCRETE PAVERS

Concrete pavers shall be delivered to the project site in steel-banded, plastic-banded, or plastic wrapped cubes capable of transfer by forklift or clamp lift. The pavers shall be unloaded without damage to pavers or existing construction. The individual unit pavers shall be protected from damage during delivery, storage and construction.

5.2	SAND

Sand shall be covered with waterproof coverage to prevent exposure to rainfall or removal by wind. Covering shall be secured in place.

5.3	ACCESS

Access to buildings will be provided at all times. The paving schedule is to be coordinated to minimize interference with the normal use of the premises.

6.0	INSTALLATION

The installation of concrete pavers shall be in accordance with Part 3- Execution of the Canadian National Master Construction Specification "Concrete Unit Paving" which provides guidelines for preparation, installation and compaction of the subgrade, geotextiles, granular base, edge restraints, bedding sand, and 	concrete pavers. Pavers shall not be installed during heavy rain or snowfall or over frozen base materials. Sand shall not be installed if frozen, or over frozen base materials. After final compaction, all excess sand and debris shall be removed. 95 percent of the joints shall be between 2 mm and 3 mm in width. The sealer shall be applied as soon as practical after final compaction, in accordance with the sealer manufacturer's requirements regarding application methods, equipment, and rate. The joints at the interface between pavers and adjacent pavement and edge restraints shall be sealed with joint sealing filler material as directed by the Engineer. Bedding sand, pavers, and joint sand shall not be installed during periods of heavy rain or when temperatures are at 0° C or lower.

7.0 	CONTRACTOR QUALITY CONTROL

7.1  GENERAL

The Contractor shall provide and maintain a quality control system that will provide methods and procedures to assure that all materials and completed construction submitted for acceptance conform to contract requirements whether manufactured or processed by the Contractor, procured from Subcontractors or 	vendors. Quality control testing and inspection shall be completed in accordance

with the Public Works Canada  publication, "Pavement Construction Methods and Inspection", AK-68-22-000 with the addition of the following sections.

7.2	EXAMINATION AND VERIFICATION PRIOR TO CONCRETE PAVER PLACEMENT

The Field Control Technician, who can be the Installer's on-site superintendent, shall also be responsible for the following:

1) Examination of surfaces designated to receive unit pavers for compliance with required installation tolerances. Verification that all surfaces to receive pavers are in proper condition,

and that no conditions exist which may adversely affect progress or quality of work.

2) Verification that the base is dry and ready to support bedding material, pavers, and imposed loads.

3) Verification of base gradients and elevations.

4)Verification of location, type, installation, and elevations of adjacent edge restraints, drainage inlets, grounding lugs, and other appurtenances in the pavement.

5) Provision of adequate drainage during the entire construction phase by means of temporary drains, ditches, or other means to prevent the build-up of standing water.

7.3	QUALITY CONTROL TESTING

The Contractor shall perform any quality control tests necessary to control the production and construction processes applicable to these Specifications and as set forth in the approved Quality Control Plan.

7.3.1	PAVER PRODUCTION

The testing program for paver manufacture shall include, but not necessarily be limited to tests for control of:

a) Batch proportioning

b) Aggregate gradation (evidence from quarry tickets will be acceptable).

c) Aggregate moisture content

d) Water-cement ratio

e) Density measurements

A minimum of two (2) tests for each property shall be made for each production day. For automated plants with recordation, the Contractor may submit printed tickets, in lieu of daily testing, provided evidence of recent plant calibration is submitted to the Engineer for approval prior to the start of production.

7.3.2 	BEDDING AND JOINT SAND

The Contractor shall control the gradation and moisture content of the bedding and joint sand used for installation.

8.0 	METHOD OF MEASUREMENT

The quantity of each element of work installed and accepted, comprising this item, shall be in accordance with the following measurements:

8.1	CONCRETE PAVERS AND JOINT SAND

Per square metre (m2), measured in-place, completed and accepted.

8.2	BEDDING SAND

Per tonne, measured on approved truck scales, completed and accepted.

8.3 	EDGE RESTRAINT

Per linear metre, measured in-place, completed and accepted.

8.4 	SEALER

Per square metre (m2) completed and accepted.

9.0	MATERIALS AND TESTING REQUIREMENTS

CSA-A23.1		Concrete Materials and Methods of Concrete Construction

CSA-A23.2  	Methods of Test for Concrete

CSA-A23.2-1A 	Sampling Aggregates for Use in Concrete

CSA-A23.2-2A	Sieve Analysis for Fine and Coarse Aggregate

CSA-A23.2-7B	Random Sampling of Construction Materials

CSA-A23.2-16A	Resistance to Degradation of Small-Size Coarse Aggregate by Abrasion and Impact in the Los Angeles Machine

CSA-A23.2-23A	The Resistance of Fine Aggregate to Degradation by Abrasion in the Micro Deval Apparatus

CSA-A179		Mortar and Grout for Unit Masonry

CSA-A231.2	Precast Concrete Pavers

ASTM C33		Specification for Concrete Aggregates

ASTM C140	Standard Test Methods for Sampling and Testing Concrete Masonry Units and Related Units

ASTM C144	Standard Specification for Aggregate for Masonry Mortar

ASTM C566 	Total Moisture Content of Aggregate by Drying

ASTM C936	Specification for Solid Interlocking Concrete Paving Units

ASTM C979	Pigments for Integrally Colored Concrete

ASTM D1557 	Laboratory Compaction Characteristics of Soil Using Modified Effort

ASTM D2370	Standard Test Method for Tensile Properties of Organic Coatings

ASTM D3665	Random Sampling of Paving Materials